E-mail:  hydro@siapro.si

Questionnaire for Price Quotations for SIAPRO Water Turbines

Project:	____________________________________________________________________________________________

Customer:____________________________________________________________________________________________

Address:              __________________________________________________________________________________________

Telephone + Fax ____________________________________________	E-mail: ____________________________________

1.	Gross head (static head):	___meters     		Drinking water system:  YES [  ]       NO [  ]

Net head:		___meters

- What volume of water is available in months per year?

(Means usable flow = after the hygienic minimum deduction)

Max.:		_____________________	l/s	appr. _____________________	months/year

Average:   	_____________________	l/s	appr. _____________________	months/year

Min.:		_____________________	l/s	appr. _____________________	months/year

3.	Is storage available? What area?	____________	m²	What depth?  _________	m

4.	How is the flow conducted to the turbine?

a) Open canal:	      length____________	m;	width x height	______________	m

b) Penstock: material/length______/______	m;	inside dia._______ mm;   wall thickness ____  mm

5.	What needs to be driven?

a) Generator for electricity production        [  ]				Voltage       _____________  V;

Frequency  _____________   Hz;

b) Others	_____________________________________________________________________

6.	Turbine regulation

a) Manual 						[  ]

b) Automatic:   b1) According to water level			[  ]

b2) Other__________________________		[  ]

7.          In the case of a generator drive:

a) Power supply to utility grid*				[  ]

b) Stand-alone operation only				[  ]

c) Stand-alone operation and power supply to grid (the most expensive variant) 	[  ]

8.	a) Max. permissible pressure rise in the penstock (if known) __________________________________    bars

b) In case of drinking water system, notify the existing back-pressure __________________________     bars

9.	Quality of water (e.g. silt content, ph-value etc.)	___________________________________________

10.	Scope of delivery:	Turbine					[  ]

Governor or Regulator			[  ]

Speed transmission (if required)		[  ]

Generator				[  ]

Switchgear				[  ]

Service Valve				[  ]

11.          Please submit the following (if known):

a) Dimension of upper water level         	_____________

b) Dimension of tail water level with Qmax	_____________

c) Dimension of tail water level with Qmin 	_____________

d) The highest possible level of machine room floor	_____________

In case of installing the equipment into the existing site, please submit site plans and drawings available.

12. Other ________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

___________________________________			_________________________________________

Date and place							Signature

Glossary for Turbine Questionnaire

To 1.	Gross head is defined as the vertical distance between head and tail water level.

To 2.	A flow duration curve is preferred, if available.

To 3.	A reservoir will help to keep the turbine running throughout the year when flow rates vary

(day-time operation; night-time fill-up of reservoir).

To 4.	These figures are required for calculating net head and governor capacity.

To 5.	a)  A three-phase induction generator can be used for operating parallel with the utility grid.

Electric current is supplied to the public network.

b)  A three-phase synchronous generator is needed for stand-alone generation or for grid

parallel operation with the ability to provide emergency power in case of grid failure.

c)  Pumps, mills, sawing machinery, etc.

To 6.	a)  Manual turbine operation does not permit automatic operation.

- Turbine regulation for run-of-the-river plants with grid parallel operation (power supply

to utility grid), controlled by the available flow (water level signal).

c)  Stand-alone operation requires speed control, to prevent frequency deviations caused

by load changes.

d)  Turbine regulation can be varied between water level controls for grid parallel operation

and speed control for stand-alone (isolated) operation.

To 8.	Length of penstock is important for design and capacity of speed governor for stand-alone

generation.